## Datapoints - Modbus
Name * | Start Address * | Length * | Data Type * | Function Type * | Operation *
Voltage | 1 | 1 | UINT16 | Input Register | Read Only
Active Power | 2 | 1 | UINT16 | Input Register | Read Only
Active Energy | 3 | 1 | UINT16 | Input Register | Read Only

## Values - Modbus (hidden)
Start Address * | Length * | Data Type * | Function Type * | Operation *
1 | 1 | UINT16 | Input Register | Read Only
|  | BIT | Input Register | Read Only
|  | UINT16 | Holding Register | Write Only
|  | UINT32 | Input | Read/Write
|  | UNIT64 | Coil
SINT16
SINT32
SINT64
FLOAT32
FLOAT64
STRING